Mk4 data processing					26 April 2004

Log in as yourself onto "puu" [SunOS].

Note: The procedure below uses DOY 001 of year 2004 as an example.

1. Archive raw data to MSS.

store_rawmk4		[msscheck_raw  mk4  04d001 is automatically run 1 hour later]

NOTE: If there were NO images for a given day, then move

the t1 log file to the directory: "/wikiwiki/d/mlso/mk4/t1".

2. Calibrate mk4 data.

cd /puu/d/cordyn/mk4/Data/04d001

ls -1  *.i  >  mylist		[create a list of the *.i images for seeGBU4.pro]

idl

@gbu			[seeGBU4.pro creates 04d001.gbu file: good/bad/ugly]

vi 04d001.gbu		[edit file: label BEST image, change 3rd “CALIBRATION” file to “DARK”]

setupmk4cal 04d001.gbu 	[creates tscp file, *.pB, *.pB.vig, *.rpB.vig]

idl

@perf			[seePERF4.pro creates 04d001.perf file]

setupmk4avg 04d001.perf	[creates average image]

3. Copy calibrated data to toshi & DVD jukebox.

cpar.mk4  mk4  04d001

4. Copy calibrated data to MSS.

store_calmk4  04d001	[“msscheck_cal  mk4  04d001” is automatically run 1 hour later]

5. Verify MSS tar files.

Examine the xcheck files:

04d001.raw.xchk

04d001.cal.xchk

If all is well, move them to the year directory:

mv  04d001*xchk  2004

6. Remove data files.

cd /puu/d/cordyn/mk4/Data/04d001

rm *.gz *.gif *.txt *.ps *.tar

cd /wikiwiki/d/mlso/mk4

rm -rf 04d001