--------------------------------------------------------------------------------

* * * * * * * SMM C/P Coronal Synoptic Data Files * * * * * * *   26 April 1991

--------------------------------------------------------------------------------

Synoptic data for the SMM C/P instrument is organized in a collection

of files (one for each combination of year and radial distance).

Each data file consists of an ordered set of fixed-length records,

The contents of each record is defined by the C-language structure

provided below:

/* --- structure for SMM C/P synoptic file records --- */

struct S

{

float net;	/* North-East time (day-of-year w.r.t. a given year). */

float et;		/* East time. */

float set;	/* South-East time. */

float swt;	/* South-West time. */

float wt;		/* West time. */

float nwt;	/* North-West time. */

double nec;	/* North-East Carrington rotation. */

double ec;	/* East Carrington rotation. */

double sec;	/* South-East Carrington rotation. */

double swc;	/* South-West Carrington rotation. */

double wc;	/* West Carrington rotation. */

double nwc;	/* North-West Carrington rotation. */

short  th[361];	/* Array: coronal brightness values. (vidicon: 0-255).*/

};

The time units used in the above structure are floating point values specified

as day-of-year, relative to the year designated for each data file.

The Carrington rotation number is a double-precision value in standard rotation

number units.

The theta values are ordered according to solar position angle (0=north pole,

90=east equator, 180=south pole, 270=west equator).  The first value

corresponds to position angle 0 degrees, the last to 360 degrees, with

increments of one degree.  The 181st theta value therefore corresponds to

180 degrees, which is designated as -90 degrees latitude for both east and

west limb synoptic maps.

The coronal intensities are raw values corresponding to digitized numbers

collected by the SMM Coronagraph/Polarimeter vidicon detector.

No adjustment has been made to rectify the non-uniform photometric

response of the detector.  Furthermore, the vidicon's geometric distortion

has NOT been corrected.

Be aware that each intensity value is a total OBSERVED coronal brightness,

including stray light, vignetting and F-corona.  If only the K-corona brightness

is desired, then a photometric calibration must be performed, along with

corrections to eliminate the three components mentioned above.

It is important to understand that each SMM C/P image covers only about 90

degrees of the solar corona.  Thus, four separate images (taken at slightly

different times) must be scanned in order to obtain brightness values, which

are sampled in increments of one degree (from 0 through 360).

For each year (1980, 1984-89) and radius (2.0, 2.8, 3.4 Rsun), a synoptic data

file was initially created with "dummy" records.  For each year, a

pre-determined start and stop days were chosen, and are given below:

begin	end

Year	DOY	DOY

----	-----	---

1980	068	267

1984	138	397

1985	-10	386

1986	-29	383

1987	089	400

1988	-22	389

1989	-26	399

The decision was made to collect two sets of theta scan values per day.

Therefore, two dummy records were created for each day-of-year to be

covered by each data file.  All of the day-of-year times were initialized

to the value 2000 + DOY, where DOY ranged from the beginning DOY to the

ending DOY specified in the above table, with increments of 0.5, since

two samples per day are allowed.  The Carrington rotation values were all

initially set to zero, as were all of the theta scan values.

As each image was then accessed and theta scan values were extracted, the

record corresponding to the DOY and time of the image was then overwritten

with the appropriate information.  North-East and North-West times are

taken from the north sector image.  The East time come from the east sector

image.  The South-East and South-West times belong to the south sector image.

The West time corresponds to the west sector image.  When stepping through

the records of a synoptic data file, it is easy to determine whether a

particular record contains useful information.  If the East time is less

than 1000, the record contains observational data.  Otherwise, it is a dummy

record which merely maintains the expected structure and order of the file.

If, at a later date, an image is processed whose time corresponds to a dummy

record, the new observational data may be used to overwrite it.

Carrington rotation values were computed based upon the date when a particular

portion of the corona would be at central meridian (i.e., 1/4 of a rotation

later than image times for  east limb regions, and 1/4 rotation earlier than

the image time for west limb regions).

For each SMM sector, the range of angles scanned is given below:

minimum			maximum

SMM sector	angle			angle

----------	-------			-------

north		315		 	 45 (40 at 2.8 Rsun)

east		 45 (40 at 2.8 Rsun)	140

south		140			225

west		225			315

Currently available synoptic data files are specified below:

file		radius

name		year	(Rsun)

------		------	------

vsyn80.r20	1980	2.0

vsyn80.r28	1980	2.8

vsyn80.r34	1980	3.4

vsyn84.r20	1984	2.0

vsyn84.r28	1984	2.8

vsyn84.r34	1984	3.4

vsyn85.r20	1985	2.0

vsyn85.r28	1985	2.8

vsyn85.r34	1985	3.4

vsyn86.r20	1986	2.0

vsyn86.r28	1986	2.8

vsyn86.r34	1986	3.4

vsyn87.r20	1987	2.0

vsyn87.r28	1987	2.8

vsyn87.r34	1987	3.4

vsyn88.r20	1988	2.0

vsyn88.r28	1988	2.8

vsyn88.r34	1988	3.4

vsyn89.r20	1989	2.0

vsyn89.r28	1989	2.8

vsyn89.r34	1989	3.4

--------------------------------------------------------------------------------

synexam: use to examine contents of a synoptic data file.

sd6: use to display single or multiple-rotation synoptic maps.

--------------------------------------------------------------------------------